| All tubes are pre-labeled by the manufacturer |  | Label contains tube expiry date. |
| --- | --- | --- |

CORRECT PATIENT’S LABEL PLACEMENT

- Place patient’s collection label (no larger than 2” X 1”) directly over manufacturer’s label to ensure that the specimen is visible.

- Align label lengthwise directly under the stopper, with patient’s name reading left to right.

|  |  | Label must be stuck on smoothly |
| --- | --- | --- |

INCORRECT PATIENT’S LABEL PLACEMENT

|  |  | Not straight/upside down |
| --- | --- | --- |
|  |  | Wrapped around |
|  |  | Extending beyond tube |
|  |  | Over cap |